## Instructions
Introduction
The goal of this guideline is to help solve the current need for responding to client requests for carbon measurements of meetings and room nights by defining a common measurement method across the hotel industry globally. To solve this need, this guideline was developed by the Carbon Measurement Working Group, a joint initiative of the International Tourism Partnership (ITP) and the World Travel &Tourism Council (WTTC). The guideline applies the GHG Protocol Corporate Standard at the hotel property level to serve as hotel sector guidance.
This spreadsheet should be used in connection with the Hotel Carbon Measurement Initiative 1.1 Methodology, which can be obtained from the ITP and WTTC websites.
How the methodology works
What data is needed
• Energy and electricity consumption data for 12 months using meter readings or invoices
• Area data (square meters or square footage) for:
– Guest rooms and corridor area
– Meeting space area
– Total area
• If you have private areas (e.g. private appartments or on-site staff accomodation): area of private space and total conditioned area
• If you outsource your laundry: carbon emissions or energy consumption data from your supplier OR laundry tonnage per annum.
• If you have significant refrigerant gas usage: refrigerant gas usage
• If you have significant transport fuel consumption: fuel consumption
• If you purchase or use energy from renewable sources: certificates of origin, supplier bill detailing energy mix, on-site generation meter readings
Who it's designed for
Hotel Managers
What it will tell you
Total carbon footprint for guest rooms and meeting space during the specified reporting year, per night and per guest
Total renewable energy used by the hotel (% of total energy consumption)
How the information should be used
For Group and individual hotel responses to corporate RFPs

## Definitions
Definitions
Basic details section:
Reporting year: | o The 12-month data period is defined by each company internally o The most recent month within the company’s defined 12-month period is not to exceed nine months from the date of calculation. For example, if calculations are performed and communicated to stakeholders in July 2012, the data set could be no later than December 2010 - November 2011.
Total area of guest rooms, corridors, and meeting facility space | Area can be entered in square meters OR square feet, as long as this is consistent in all 3 questions
Total number of occupied rooms | Sum of all rooms sold and complimentary rooms minus no-shows
Energy Consumption
Total electricity/gas/oil consumption | This is your total energy consumption for all your premises, including any outdoors facilities or private appartements. You should obtain this data from your energy invoices or from taking meter readings at the beginning and end of the reporting period.
Consumption data based on actual meter readings is preferable as energy bills can be inaccurate or based on estimated readings. It is good practice to take your own meter readings to measure your energy consumption and verify the accuracy of your energy bills. Meter readings should be scheduled to coincide with carbon monitoring and reporting periods. Meter readings should be taken at regular intervals and a process should be in place to record the readings.
Converting to kWh:
Gas consumption measured in cubic meters or cubic feet should be converted to kWh. This website will help you: http://www.energylinx.co.uk/gas_meter_conversion.html
If your energy is measured in MJ instead of kWh, please convert the data to kWh:
1 MJ = 0.28 kWh
Converting gallons to litre:
1 litre = 0.2641721 gallon
Click here for detailed unit conversions
Estimating data:
Estimating consumption: if you do not have data for the entire year, you may estimate your consumption based on the following estimations techniques (source Uk Environment Agency):
Pro rata estimation technique involves quantifying the missing data for a data gap using a proportional method based on actual consumption from another similar period.
Direct comparison method uses data that corresponds with a similar period of supply. The advantage of this is that it accommodates variability in energy demand.
Price settlement: using the unit price shown on an earlier bill for this billing period or an average price per unit to convert energy costs into consumtpion data.
Emission factors | Emission factors convert energy consumption into greenhouse gases emissions. Emission factors for electricity production and common fuels are available in datasets updated annually by the International Energy Agency (IEA). You may also find relevant emissions for your country of from your national government agencies, such as US EPA, UK DEFRA, Australia’s Department of Climate Change and Energy Efficiency, or Environment Canada, who provide accurate and up to date emission factors. Hotels should select the most current and relevant emission factors available. Electricity emission factors are updated annually to account for the change in how electricity is generated within a country or intra-national regions. National government agencies often publish national datasets on a freely accessible platform online. IEA data needs to be purchased.
Renewable energy | Energy and heat purchased from a supplier using renewable sources (e.g. geothermal district heating), or generated on-site using renewable sources (such as biomass, biofuel, hydropower, geothermal energy, solar) Electricity purchased from a supplier generating electricity from renewable sources. HCMI follows scope 2 protocol for market-based reporting only (not location-based). The amount of renewable electricity supplied should be verifiable through mechanisms such as Power-Purchase Agreements, and Renewable Energy Certificates. Renewable electricity can also be produced on-site by the hotel using solar panels or wind turbines, or any renewable electricity generation system. Certificates origin are recommended as the most robust source of data. In case certificates are not available, please refer to the energy mix or share of renewables disclosed on energy bills. Any renewable energy generated on site and sold back to the grid should not be counted in HCMI.
A- Private Areas
Private space | Areas such as private appartments or club that hotel guests or meeting attendees cannot access. Outsourced businesses such as restaurants, shops, hairdressers, etc., not managed by the hotel are considered as private space. The energy consumption for these areas should be removed from your footprint, either by using meter readings for these areas or by estimating consumption based on square footage.
Sub-metered | An area of your hotel which has its own meter and for which energy consumption can be measured separately.
Conditioned area | The area of a hotel that is conditioned by any Heating, Ventilations, Air Conditioning (HVAC) equipment
B- Laundry
Share of energy consumption from laundry contractor | The estimated amount of energy used by your supplier to wash and dry your laundry. For example, if your supplier's total electricity consumption for the year is 100,000 kWh and you represent 10% of their business, your share of electricity consumption is: 10,000 kWh. The same calculations should be carried our for gas, oil, and any other sources of energy used by the laundry supplier.
Estimated consumption from tonnage data | If your laundry supplier is not able to provide your share of the energy consumption, the next best alternative is to estimate the energy consumption required to wash and dry all of your laundry in a 12 months period. The estimates are based on: Industrial Energy Efficiency Accelerator - Guide to the laundries sector (CTG064)
Estimated consumption from the number of occupied rooms | If the two options above are not available to you, the tool will estimate your energy consumption from laundry using an average of 11.3 lbs per occupied room (source: Laundry Today). This is equivalent to: 0.0051256 metric tonnes per occupied room.
Please note that estimated data is subject to an uplift to encourage all participants to improve the accuracy of their data.
C- Refrigerants (Fugitive emissions)
Fugitive emissions | Emissions that are not physically controlled but result from the intentional or unintentional releases of GHGs. They commonly arise from the production, processing transmission storage and use of fuels and other chemicals, often through joints, seals, packing, gaskets, etc. (GHG Protocol Definition) For example - emissions from refrigerants, air conditioning and refrigeration units
D- Mobile Fuels
Mobile fuels emissions | Emissions arising from the use of transport vehicles and other mobile equipment.

## 1. Hotel details and result
Key |  |  | Results
| To be completed by hotel |  | Total CO2e for reporting period
| No action |  | 0 | tCO2e
* | See definitions tab for guidance or refer to comments |  | Total Guestrooms Carbon Footprint |  | #DIV/0! | tCO2e
|  |  | Total Meetings Carbon Footprint |  | #DIV/0! | tCO2e
1 | Name |  | Carbon footprint per occupied room on a daily basis |  | #DIV/0! | kgCO2e
2 | Job title |  | Carbon footprint per area of meeting space (1 sqm/sqft) on an hourly basis |  | #DIV/0! | kgCO2e
3 | Reporting year ending* |  | CO2 emissions for a specific client:
4 | Name of Hotel |  | Number of room nights for client
5 | Name of hotel group |  | Amount of meeting space occupied by client |  |  | 0
6 | Address |  | Duration of client's meetings |  |  | Hours
| Country |  | Client's rooms carbon footprint |  | #DIV/0! | kgCO2e
|  |  | Client's conference carbon footprint |  | #DIV/0! | kgCO2e
|  | Please select unit in drop down boxes below | Total client's carbon footprint |  | #DIV/0! | kgCO2e
8 | Total area of guest rooms and corridors
9 | Total area of meeting facility space | 0 | Renewable energy and electricity
10 | Total area of conditioned space* | 0 | TOTAL renewable energy used by the hotel (kWh) |  |  |  | 0
11 | Total number of guest rooms |  | TOTAL renewable energy used by the hotel (% of total energy consumption) |  |  |  | #DIV/0!
12 | Total number of occupied rooms* for reporting year
Once steps 1-12 are completed, go to tab 2. Energy Consumption

## 2. Energy Consumption
Energy Consumption
|  | Total Consumption | Private space consumption (Tab A- if applicable) | Outsourced Laundry (Tab B- if applicable) | Total | Unit | CO2e emission factor | Emissions (kg CO2e)
Total Electricity consumption for reporting period* (in kWh), including renewable electricity |  |  | 0 | 0 | 0 | kWh | 0.29879 | 0
Total Gas consumption for reporting period* (in kWh) |  |  | 0 | 0 | 0 | kWh | 0.18219 | 0
Total Oil consumption for reporting period* (in litres) |  |  | 0 | 0 | 0 | litres | 2.6765 | 0
Please list below any other fuels (e.g. district heating, propane, LPG, coal, etc.), and other commodities (e.g. chilled water)- excluding transport fuels and biofuels. Please detail consumption for each type of fuel with corresponding emission factor. |  | Consumption | Private space consumption (Tab A- if applicable) | Other energy sources from outsourced laundry | Total | Unit | CO2e emission factor | Emissions (kg CO2e)
|  |  | 0 |  | 0 | kWh |  | 0
|  |  | 0 |  | 0 | kWh |  | 0
|  |  | 0 |  | 0 | kWh |  | 0
|  |  | 0 |  | 0 | kWh |  | 0
Click here to convert your existing data to a different unit
Renewable energy
|  | Consumption | Private space consumption (Tab A- if applicable) | Total
Purchased renewable energy
Total renewable energy purchased from supplier using renewable sources, in kWh (e.g. green electricity supplier, Power-Purchase Agreement, Renewable Energy Certificates, geothermal district heating) |  |  | 0 | 0
Generated renewable energy
Total renewable energy generated from renewable generation (e.g. through on-site solar panels or wind turbines, or using biomass, biofuel, geothermal energy as fuel), in kWh |  |  | 0 | 0
Supplementary questions
A | Do you have any facilities that guests can't use (private space*)? e.g. Timeshares, flats, private club |  | No need to complete Tab A
B | Is your laundry outsourced? |  | No need to complete Tab B
C | Have your Air Conditioning or refrigeration units had a refrigerent gas leak of over 100 kg or have you conducted major maintenance on your AC systems during the reporting period? If you have no Air Conditioning or refridgeration units please select NA. |  | No need to complete Tab C
D | Does your hotel own or operate vehicles (e.g. shuttle bus, hotel car)? |  | No need to complete Tab D
If your answer is NO for all the supplementary questions, your carbon footprint is calculated automatically on the right of the screen in TAB 1 - Hotel Details and Results.
Note on D4: Ndesolino: From energy invoices or meter readings
Note on D5: Ndesolino: From energy invoices or meter readings.
Note on D6: Ndesolino: From invoices or manual measurement

## Tab A - Private Areas
Section A | Please complete this tab if you have private areas not available to guests and meeting attendees
Private areas:
A.1 | Is the space sub-metered* |  | Go to question A.2 | Total electricity consumption from private space
Total gas consumption from private space
Total oil consumption from private space
Other fuel sources (listed in tab 1. hotel details and results):
0
0
0
0
Click here to convert your existing data to a different unit
A.2 | Total area of the private space |  | 0
| Total area of conditioned space* |  | 0
| Percentage of private space | 0%

## Tab B - Outsourced Laundry
Section B | Please complete this section if you outsource your laundry.
B.1 | Can you get your share of the energy consumption* from your laundry contractor for the reporting year? | Go to question B.2 | Electricity | kWh
|  |  | Gas | kWh
B.2 | Do you know your laundry tonnage? |  | Oil | Litres
Click here to convert your existing data to kWh or litres
|  | Metric tonne | US ton
Your emissions are estimated below
0
0
| Estimated electricity consumption | 0 | kWh
| Estimated gas consumption | 0 | kWh
| Estimated oil consumption | 0 | Litres
Source: Carbon Trust- Guide to the laundries sector (CTG064)
Source: Laundry Today

## Tab C - Refrigerants
Section C | Please complete this tab if your Air Conditioning or refrigeration units have had a refrigerant gas leak of over 100 kg or if you have conducted major maintenance on your AC systems during the reporting period?
C.1 | Is the refrigerant gas used in your systems one of the following: R-22, R-134A, R-404A, or R-410A? |  | Go to question C.2
0
C.2 | Amount of each refrigerant used in the reporting year (in kg) | Refrigerant used | Global Warming Potential (GWP) of refrigerant (kg CO2e) | CO2-equivalent emissions (tonne)
Common refrigerants with high GWP
|  | HCFC-22/R22 = chlorodifluoromethane | 1810 | 0
|  | HFC-134a | 1430 | 0
|  | R-404A | 3922 | 0
|  | R-410A | 2088 | 0
Other refrigerants
|  | Methane | 25 | 0
|  | Nitrous oxide | 298 | 0
|  | HFC-23 | 14800 | 0
|  | HFC-32 | 675 | 0
|  | HFC-41 | 92 | 0
|  | HFC-125 | 3500 | 0
|  | HFC-134 | 1100 | 0
|  | HFC-143 | 353 | 0
|  | HFC-143a | 4470 | 0
|  | HFC-152a | 124 | 0
|  | HFC-227ea | 3220 | 0
|  | HFC-236fa | 9810 | 0
|  | HFC-245fa | 1030 | 0
|  | HFC-43-I0mee | 1640 | 0
|  | Perfluoromethane (PFC-14) | 7390 | 0
|  | Perfluoroethane (PFC-116) | 12200 | 0
|  | Perfluoropropane (PFC-218) | 8830 | 0
|  | Perfluorocyclobutane (PFC-318) | 10300 | 0
|  | Perfluorobutane (PFC-3-1-10) | 8860 | 0
|  | Perfluoropentane (PFC-4-1-12) | 9160 | 0
|  | Perfluorohexane (PFC-5-1-14) | 9300 | 0
|  | Sulphur hexafluoride (SF6) | 22800 | 0
|  | HFC-152 | 53 | 0
|  | HFC-161 | 12 | 0
|  | HFC-236cb | 1340 | 0
|  | HFC-236ea | 1370 | 0
|  | HFC-245ca | 693 | 0
|  | HFC-365mfc | 794 | 0
|  | R407A | 2107 | 0
|  | R407C | 1774 | 0
|  | R407F | 1825 | 0
|  | R408A | 3152 | 0
|  | R507A | 3985 | 0
|  | R508B | 13396 | 0
|  | R403A | 3124 | 0
|  | CFC-11/R11 = trichlorofluoromethane | 4750 | 0
|  | CFC-12/R12 = dichlorodifluoromethane | 10900 | 0
|  | CFC-13 | 14400 | 0
|  | CFC-113 | 6130 | 0
|  | CFC-114 | 10000 | 0
|  | CFC-115 | 7370 | 0
|  | Halon-1211 | 1890 | 0
|  | Halon-1301 | 7140 | 0
|  | Halon-2402 | 1640 | 0
|  | Carbon tetrachloride | 1400 | 0
|  | Methyl bromide | 5 | 0
|  | Methyl chloroform | 146 | 0
|  | HCFC-123 | 77 | 0
|  | HCFC-124 | 609 | 0
|  | HCFC-141b | 725 | 0
|  | HCFC-142b | 2310 | 0
|  | HCFC-225ca | 122 | 0
|  | HCFC-225cb | 595 | 0
|  | HCFC-21 | 151 | 0
|  | Nitrogen trifluoride | 17200 | 0
|  | PFC-9-1-18 | 7500 | 0
|  | Trifluoromethyl sulphur pentafluoride | 17700 | 0
|  | Perfluorocyclopropane | 17340 | 0
|  | HFE-125 | 14900 | 0
|  | HFE-134 | 6320 | 0
|  | HFE-143a | 756 | 0
|  | HCFE-235da2 | 350 | 0
|  | HFE-245cb2 | 708 | 0
|  | HFE-245fa2 | 659 | 0
|  | HFE-254cb2 | 359 | 0
|  | HFE-347mcc3 | 575 | 0
|  | HFE-347pcf2 | 580 | 0
|  | HFE-356pcc3 | 110 | 0
|  | HFE-449sl (HFE-7100) | 297 | 0
|  | HFE-569sf2 (HFE-7200) | 59 | 0
|  | HFE-43-10pccc124 (H-Galden1040x) | 1870 | 0
|  | HFE-236ca12 (HG-10) | 2800 | 0
|  | HFE-338pcc13 (HG-01) | 1500 | 0
|  | PFPMIE | 10300 | 0
|  | Dimethylether | 1 | 0
|  | Methylene chloride | 8.7 | 0
|  | Methyl chloride | 13 | 0
|  | R290 = propane | 3.3 | 0
|  | R600A = isobutane | 3 | 0
|  | R406A | 1943 | 0
|  | R409A | 1585 | 0
|  | R502 | 4657 | 0
|  |  | TOTAL | 0 | tCO2e
Source: https://www.gov.uk/government/publications/greenhouse-gas-reporting-conversion-factors-2019
FAQ
Is there any guidance to help me calculate the refrigerant leakage for my particular air conditioning system?
Further guidance on how to calculate refrigerant leakage is provided in the UK government 'Environmental reporting guidelines'.

## Tab D - Mobile Fuels
Section D | Please complete this tab if your hotel owns or operates vehicles (e.g. shuttle bus, hotel car)
D.1 | Have you in previous years calculated your mobile fuel emissions using the HCMI methodology?
D.2 | Were these mobile fuel emissions less than 5% of your hotel's total emissions?
D.3 | Have your hotel operations or mobile fuel usage changed significantly since the previous reporting period?
D.4 | Enter your emissions from mobile fuels calculated in previous reporting period. |  | tCO2e
D.5 | Calculate your mobile fuel emissions using the table below
| Mobile Fuels | Country or Region | Consumption | Energy unit | Emission factor (kgCO2e) | Total emissions (tCO2e)
Most common fuels
| Gasoline/Petrol | USA |  | litre | 2.3274 | 0
| Gasoline/Petrol | UK |  | litre | 2.3147 | 0
| Gasoline/Petrol | Other |  | litre |  | 0
| On-Road Diesel Fuel | USA |  | litre | 2.6813 | 0
| On-Road Diesel Fuel | UK |  | litre | 2.6879 | 0
| On-Road Diesel Fuel | Other |  | litre |  | 0
| LPG | USA |  | litre |  | 0
| LPG | UK |  | litre | 1.5554 | 0
| LPG | Other |  | litre |  | 0
| Other fuel (please specify) |  |  |  |  | 0
| Other fuel (please specify) |  |  |  |  | 0
[5 empty] | Total | 0 | tCO2e
| Percentage of total emissions from mobile fuel | #DIV/0!
Note regarding future reporting:
#DIV/0!
Note on I18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: GHG reporting figures provided UK government 2020 https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/891105/Conversion_Factors_2020_-_Condensed_set__for_most_users_.xlsx
Note on I21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: GHG reporting figures provided UK government 2020 https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/891105/Conversion_Factors_2020_-_Condensed_set__for_most_users_.xlsx
Note on I24: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: GHG reporting figures provided UK government 2020 https://assets.publishing.service.gov.uk/government/uploads/system/uploads/attachment_data/file/891105/Conversion_Factors_2020_-_Condensed_set__for_most_users_.xlsx

## Unit conversions
Unit conversion factors
If this annex does not have the conversion factor you are looking for, a more complete list of conversions is available here:
http://www.onlineconversion.com/
Common unit abbreviations:
kilo (k) = 1,000
mega (M) = 1,000,000
giga (G) = 1,000,000,000
Energy
From/To - multiply by | GJ | kWh | therm | toe | kcal
Gigajoule, GJ | 1 | 277.7778 | 9.4782 | 0.023885 | 238902.9576
Kilowatthour, kWh | 0.0036 | 1 | 0.034121 | 8.5985e-05 | 860.0506
Therm | 0.10551 | 29.3071 | 1 | 0.00252 | 25205.5975
Tonne oil equivalent, toe | 41.868 | 11629.9998 | 396.832 | 1 | 10002388.8883
Kilocalorie, kcal | 4.1858e-06 | 0.0011627 | 3.9674e-05 | 9.9976e-08 | 1
Volume
From/To - multiply by | L | m3 | cu ft | Imp. gallon | US gallon | Bbl (US,P)
Litres, L | 1 | 0.001 | 0.035315 | 0.21997 | 0.26417 | 0.0062898
Cubic metres, m3 | 1000 | 1 | 35.3147 | 219.9692 | 264.1721 | 6.2898
Cubic feet, cu ft | 28.3168 | 0.028317 | 1 | 6.2288 | 7.4805 | 0.17811
Imperial gallon | 4.5461 | 0.0045461 | 0.16054 | 1 | 1.2009 | 0.028594
US gallon | 3.7854 | 0.0037854 | 0.13368 | 0.83267 | 1 | 0.02381
Barrel (US, petroleum), bbl | 158.9873 | 0.15899 | 5.6146 | 34.9723 | 42 | 1
Weight/Mass
From/To - multiply by | kg | tonne | ton (UK) | ton (US) | lb
Kilogram, kg | 1 | 0.001 | 0.00098421 | 0.0011023 | 2.2046
tonne, t (metric ton) | 1000 | 1 | 0.98421 | 1.1023 | 2204.6237
ton (UK, long ton) | 1016.0464 | 1.016 | 1 | 1.12 | 2240
ton (US, short ton) | 907.185 | 0.90718 | 0.89286 | 1 | 2000.0015
Pound, lb | 0.45359 | 0.00045359 | 0.00044643 | 0.0005 | 1
Length/Distance
From/To - multiply by | m | ft | mi | km | nmi
Metre, m | 1 | 3.2808 | 0.00062137 | 0.001 | 0.00053996
Feet, ft | 0.3048 | 1 | 0.00018939 | 0.0003048 | 0.00016458
Miles, mi | 1609.344 | 5280 | 1 | 1.6093 | 0.86898
Kilometres, km | 1000 | 3280.8399 | 0.62137 | 1 | 0.53996
Nautical miles, nmi or NM | 1852 | 6076.1155 | 1.1508 | 1.852 | 1
From/To - multiply by | m | ft | in | cm | yd
Metre, m | 1 | 3.2808 | 39.3701 | 100 | 1.0936
Feet, ft | 0.3048 | 1 | 12 | 30.48 | 0.33333
Inch, in | 0.0254 | 0.083333 | 1 | 2.54 | 0.027778
Centimetres, cm | 0.01 | 0.032808 | 0.3937 | 1 | 0.010936
Yard, yd | 0.9144 | 3 | 36 | 91.44 | 1
Typical conversion factors for metered energy
Commodity | Delivered units | kWh per delivered unit
Natural gas | hundred cubic feet | 30
Natural gas | cubic metre | 10.6
Propane | kilogramme | 13.9
Propane | cubic metre | 25.9
Butane | kilogramme | 13.7
Butane | cubic metre | 33.8
Gas oil (Class D) | litre | 10.8
Gas oil (Class D) | kilogramme | 12.7
Heavy fuel oil (Class G) | litre | 11.7
Heavy fuel oil (Class G) | kilogramme | 11.9
Dry steam coal | kilogramme | 8.5
Anthracite | kilogramme | 8.2
Steam | kilogramme | 0.63
Steam | pound | 0.29
Source: https://www.vesma.com/conversions.htm